GENERAL NOTES:

- Although sufficient care has been taken in compilation of the record on the basis of available information, in case of any clarification/discrepancy, the office of Director(Bldg.), DDA, C-1, First Floor, Vikas Sadan, INA, New Delhi may please be contacted.

- The list of properties where Sealing-cum-Demolition orders have been passed after issuing Show Cause Notice under D.D. Act 1957 is as under:

DETAIL OF UNAUTHORIZED CONSTRUCTION

DETAILS OF PROPERTIES (PLOT SIZE 26-SQM TO 90-SQM IN ROHINI AREA) IN WHICH S.D. ORDERS WERE PASSED

BETWEEN 1st JAN., 2006 TO 31st.  OCT., 06.

NAME OF LOCALITY;   ROHINI

| S.No. | File No. | Property Details Plot No./Pkt./Sect. | Details of Violations | Date of S.D. Orders. | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1. | F.1D/00(168)/91 | 168/- /1D | A, C & E | 11.05.06 |  |
| 2. | F.1D/00(336)/88 | 336/- /1D | A, C & E | 09.06.06 |  |
| 3. | F.20/01(83)/01 | 83/01/20 | A, B, E & F | 05/01/06 |  |
| 4. | F.20/01(76)/01 | 76/01/20 | A, B, D, E & F | 05.01.06 |  |
| 5. | F.20/01(80)/01 | 80/01/20 | B & E | 03.02.06 |  |
| 6. | F.20/01(81)01 | 81/01/20 | C, E, D & I | 04.10.06 |  |
| 7. | F.20/01(08)/01 | 08/01/20 | A, C & E | 27.10.06 |  |
| 8. | F.20/01(43)/01 | 43/01/20 | A & E | 27.10.06 |  |
| 9. | F.20/10(101)/97 | 101/10/20 | B & E | 05.01.06 |  |
| 10. | F.20/10(25)/01 | 25/10/20 | B, D, E, F & I | 11.10.06 |  |
| 11. | F.20/10(26)/01 | 26/10/20 | B, D, E, F & I | 11.10.06 |  |
| 12. | F.20/12(139)/98 | 139/12/20 | E | 03.02.06 |  |
| 13. | F.20/12(83)/01 | 83/12/20 | E | 03.02.06 |  |
| 14. | F.20/13(129)/01 | 129/13/20 | A, B, E & F | 05.01.06 |  |
| 15. | F.20/13(128)/01 | 128/13/20 | A, B, F & F | 05.01.06 |  |
| 16. | F.20/13(61)/01 | 61/13/20 | A, B & E | 05.01.06 |  |
| 17. | F.20/13(133)/01 | 133/13/20 | A, B & E | 05.01.06 |  |
| 18. | F.20/13(125)/01 | 125/13/20 | A, B & E | 05.01.06 |  |
| 19. | F.20/13(108)/01 | 108/13/20 | B, D, E & F | 25.10.06 |  |
| 20. | F.20/13(107)/01 | 107/13/20 | B, D, E & F | 25.10.06 |  |
| 21. | F.20/13(01)/01 | 01/13/20 | A, B & D | 03.02.06 |  |
| 22. | F.21/05(07)/2000 | 07/05/21 | A, B, E & F | 25.10.06 |  |
| 23. | F.21/05(95)/97 | 95/05/21 | A, C & E | 11.10.06 |  |
| 24. | F.21/09(297)/96 | 297/09/21 | A, C & E | 27.10.06 |  |
| 25 | F.22/05(172)/02 | 172/05/22 | B, C, D & E | 05.01.06 |  |
| 26. | F.22/09(66)/03 | 66/09/22 | A, B, C & E | 05.01.06 |  |
| 27. | F.24/02(269)/05 | 269/02/24 | D & I (Structure unsafe. | 03.09.06 |  |
| 28. | F.24/02(184)/05 | 184/02/24 | -Do- | 04.10.06 |  |
| 29. | F.24/02(270)/05 | 270/02/24 | -Do- | 04.10.06 |  |
| 30. | F.24/02(236)/04 | 236/02/24 | -Do- | 11.10.06 |  |
| 31. | F.24/02(183)/05 | 183/02/24 | -Do- | 11.10.06 |  |
| 32. | F.24/03(16)/05 | 16/03/24 | -Do- | 06.10.06 |  |
| 33. | F.24/03(51)/05 | 51/03/24 | -Do- | 06.10.06 |  |
| 34. | F.24/07(232)/05 | 232/07/24 | -Do- | 06.10.06 |  |
| 35. | F.24/08(285)/01 | 285/08/24 | -Do- | 27.10.06 |  |
| 36. | F.24/08(287)/98 | 287/08/24 | -Do- | 27.10.06 |  |
| 37. | F.24/09(30)/98 | 30/09/24 | A, C & E | 11.10.06 |  |
| 38. | F.24/09(20)/03 | 20/09/24 | A, B & E | 11.10.06 |  |
| 39. | F.24/09(25)/98 | 25/09/24 | A, C & E | 27.10.06 |  |
| 40. | F.24/09(27)/03 | 27/09/24 | A, B & E | 27.10.06 |  |
| 41. | F.24/09(22)/04 | 22/09/24 | A, C & E | 27.10.06 |  |
| 42. | F.24/11(154)/98 | 154/11/24 | A, C & E | 27.10.06 |  |
| 43. | F.24/11(38)/98 | 38/11/24 | A, C & E | 27.10.06 |  |
| 44. | F.24/11(43)/05 | 43/11/24 | A, C & E | 27.10.06 |  |
| 45. | F.24/11(45)/04 | 45/11/24 | A, B & E | 27.10.06 |  |
| 46. | F.24/12(87)/03 | 87/12/24 | A, B & D | 06.10.06 |  |
| 47. | F.24/14(98)/04 | 98/14/24 | B & D | 30.10.06 |  |
| 48. | F.24/20(34)/97 | 34/20/24 | D, C & E | 30.10.06 |  |
| 49. | F.24/21(178)/03 | 178/21/24 | A, B, D & E | 30.10.06 |  |
| 50. | F.24/21(179)/97 | 179/21/24 | A, B & E | 30.10.06 |  |
| 51. | F.25/02(242)/05 | 242/02/25 | I & D | 04.10.06 |  |
| 52. | F.25/02(213)/05 | 213/02/25 | A, B & I | 04.10.06 |  |
| 53. | F.25/02(204)/05 | 204/02/25 | A, B, D, E & I | 11.10.06 |  |
| 54. | F.25/04(141)/05 | 141/04/25 | A, B, E & I | 06.10.06 |  |
| 55. | F.28/2C(1119)/05 | 1119/2C/28 | B, C, D & I | 04.10.06 |  |

NOTE:			    A	-	Steps/Platform/Cupboard/Staircase on Govt. land (outside plot line) at G.F.

B	-	Roof Projections in front/rear/sides outside plot line at roof level (in air).

C	-	Construction over Roof Projection.

D	-	Construction without sanction of building plan.

E	-	Excess Coverage.

F	-	Amalgamation of two plots.

G	-	Third Floor construction.

H	-	Basement constructed.

I	-	B-1 not applied.

DETAIL OF UNAUTHORIZED CONSTRUCTION

NAME OF LOCALITY;  SECTOR -9, ROHINI

| S. No | File No. | Property | Details of unauthorized construction | S.D. order date | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1. | F.13(86)2002/Bldg. | Prime Educational & Cultural Society (Regd.) Sect.9, Rohini (community Hall) | i). Construction at site is deviated from sanction plan as well as submitted completion plan. ii). Rear set back has been encroached fully up to boundary wall of plot, being used for toilets at GF+FF+SF. iii) An open land adjacent to L.H.S. set back sanctioned for “Green” has been encroached by constructing two floors, G.F. being used for kitchen and garage. iv)No provision of ramp and opening to basement has been given for parking of vehicles in basement, whereas the basement is being used for colonizing functions instead of parking. v). Building occupied without occupancy certificate. | 19.10.06 | - Unauthorized construction at S.No.iii has been demolished by the Society as per site inspection report. |

GENERAL NOTES:

    - Although sufficient care has been taken in compilation of the record on the basis of available information, in case of any clarification/discrepancy, the office of Director(Bldg.), DDA, C-1, First Floor, Vikas Sadan, INA, New Delhi may please be contacted.

    - The list of properties where Sealing-cum-Demolition orders have been passed after issuing Show Cause Notice under D.D. Act 1957 is as under:

DETAIL OF UNAUTHORIZED CONSTRUCTION

NAME OF LOCALITY : Mandakini N.R.I. Colony.

| Sl. NO. | FILE NO | PROPERTY DETAIL | DETAILS OF UN-AUTHORIZED CONSTN. | DATE OF S/D ORDER | REMARKS. |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | 324(05)03/Bldg. | 03, Mandakini | i) Infringement in RSB & FSB. ii) Area covered more than permissible limit. iii) Construction is not as per sanction plan. iv) Temporary room constructed at terrace. v) Balcony width constructed at 2nd floor is more than the permissible. | 8.05.06 |  |

NAME OF LOCALITY:   Sect.3, Dwarka.

| Sl. NO. | FILE NO | PROPERTY DETAIL | DETAILS OF UN-AUTHORIZED CONSTN. | DATE OF S/D ORDER | REMARKS. |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | 336(501)98/Bldg. | 35, Sect.3, Dwarka | i) Construction is not as per sanction plan. ii) The roof of unauthorized construction rooms is covered with red sand stone slab. iii) Part of the property use as commercial. | 16.09.06 |  |

NAME OF LOCALITY:   Sect.8, Dwarka.

| Sl. NO. | FILE NO | PROPERTY DETAIL | DETAILS OF UN-AUTHORIZED CONSTN. | DATE OF S/D ORDER | REMARKS. |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | 325(381)01/Bldg. | 26, Block-B, Sect.8, Dwarka | i) Amalgamation with Property No.27, Block-B, Sect.8, Dwarka. ii) Covered area is more than permissible limit. iii) Construction is not as per sanction bldg. plan. | 21.03.06 |  |
| 2. | 325(382)01/Bldg. | 27, Block-B, Sect.8, Dwarka | Infringement in rear set back | 22.03.06 |  |

DETAIL OF UNAUTHORIZED CONSTRUCTION

NAME OF LOCALITY:   Mianwali CHBS Rohtak Road.

| Sl. NO. | FILE NO | PROPERTY DETAIL | DETAILS OF UN-AUTHORIZED CONSTN. | DATE OF S/D ORDER | REMARKS. |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | 267(16)99/Bldg. | A-7/3, Mianwali | Unauthorized construction at rear set back | 14.09.06 |  |
| 2. | 267(37)84/Bldg. | B-5/3, Mianwali | Covered RSB of G.F., FF & S.F. | 29.09.06 |  |

DETAIL OF UNAUTHORIZED CONSTRUCTION

NAME OF LOCALITY: Gujrawalan

| S. No | File No. | Property | Details of unauthorized | S.D. order date | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1. | F.326(03)99/Bldg. | 235, Gujrawalan Ph.III | i) Shutter found fixed at GF & Basement. ii) 100% coverage at GF & FF. | 13.10.06 |  |
| 2. | F.326(06)95/Bldg. | 247, Gujrawalan Ph.III | i) Building being used as commercial (Banquet Hall). ii) Plan found deviated than the permissibility as per BBL. | 3.10.06 |  |
| 3. | F.326(05)01/Bldg. | 238, Gujrawalan Ph.III | i) G.F. constructed as Hall. ii) Shutter found installed on G.F. iii) Excess coverage at GF, FF & SF observed. | 9.10.06 |  |

DETAIL OF UNAUTHORIZED CONSTRUCTION

NAME OF LOCALITY:   Paschim Enclave (Shanker Garden) CHBS) Rohtak Road

| Sl. NO. | FILE NO | PROPERTY DETAIL | DETAILS OF UN-AUTHORIZED CONSTN. | DATE OF S/D ORDER | REMARKS. |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | 197(14)88/Bldg. | 01, Shanker Garden | i) Infringement of rear set back. ii) Partition wall constructed in the basement. iii) Coverage more than permissible | 23.03.06 |  |

DETAIL OF UNAUTHORIZED CONSTRUCTION

NAME OF LOCALITY: Shivaji Enclave

| S. No. | File No. | Property No. | Details of unauthorized construction | Date of S.D. order | Remark |
| --- | --- | --- | --- | --- | --- |
| 1. | F289(12)05/Bldg. | 63, Shivaji Enclave | i) Infringement in front set back & rear set back. ii) Construction more than permissible. iii) Construction not as per sanction plan. | 4.10.06 |  |
| 2. | F289(8)06/Bldg. | 45, Shivaji Enclave | i) Basement constructed in rear set back. ii) Infringement in front set back & rear set back in G.F. & FF. | 11.10.06 |  |
| 3. | F289(5)05/Bldg. | 59, Shivaji Enclave | i) Basement constructed in rear set back. ii) Infringement in front set back & rear set back in GF, FF & SF. | 16.10.06 |  |
| 4. | F289(02)05/Bldg. | 49, Shivaji Enclave | i) Basement constructed in rear set back. ii) Infringement in front set back & rear set back. iii) Construction more than permissible. iv) Construction not as per sanction plan. | 13.10.06 |  |

DETAIL OF UNAUTHORIZED CONSTRUCTION

NAME OF LOCALITY: S.B.I. Colony

| S. No. | File No. | Property No. | Details of unauthorized construction | Date of S.D. order | Remark |
| --- | --- | --- | --- | --- | --- |
| 1. | F.291(01)98/Bldg. | 4, SBI Colony | i) Not as per sanction plan and excessive coverage at GF, FF & SF. ii) G.F. Hall constructed. | 3.10.06 |  |
| 2. | F291(15)88/Bldg. | 142, S.B.I Nagar | i) Front set back fully infringement. ii) Rear set back fully infringement. | 4.10.06 |  |

DETAIL OF UNAUTHORIZED CONSTRUCTION

NAME OF LOCALITY: Shakti CHBS at Paschim Vihar

| S. No. | File No. | Property No. | Details of unauthorized construction | Date of S.D. order | Remark |
| --- | --- | --- | --- | --- | --- |
| 1. | F340(11)04/Bldg. | 45-C, Shakti C.H.B.S. | i) Infringement in front set back & rear set back. ii) Constn. more than permissible. iii) Construction not as per sanction plan. Projection on road side. | 4.10.06 |  |
| 2. | F340(09)05/Bldg. | A-21, Shakti C.H.B.S. | i) Building not as pr sanction plan. ii) Excess coverage more than permissible at GF, FF & SF. iii) Rear set back fully covered at GF, FF & SF. | 21.09.06 |  |
| 3. | F.340(02)05/Bldg. | B-5, Shakti CHBS. | Infringement of rear set back. | 30.10.06 |  |
| 4. | F340(14)06/Bldg. | C-64, Shakti C.H.B.S. | Infringement of rear set back. | 3.10.06 |  |
| 5. | F340(01)02/Bldg. | C-1, Shakti C.H.B.S. | i) Basement GF, FF is not as per sanction plan. ii) 2nd floor constructed without prior approval. iii) Construction more than permissible. iv) Construction not as per sanction plan. | 3.10.06 |  |
| 6. | F340(10)2000/Bldg. | 21-C, Shakti C.H.B.S. | Infringement of rear set back at 2nd floor. | 11.10.06 |  |
| 7. | F340(13)04/Bldg. | 56-C, Shakti C.H.B.S. | i) Infringement in rear set back. ii) Projection on public land towards service lane. | 11.10.06 |  |
| 8. | F340(11)05/Bldg. | 31-A, Shakti C.H.B.S. | i) Constructing staircase for basement in front set back. ii) Car garage not constructed as per BBL & sanction plan. | 4.10.06 |  |
| 9. | F340(10)05/Bldg. | 33-C, Shakti C.H.B.S. | i) Infringement of rear set back & front set back by digging the staircase for basement. ii) Construction not as per sanction plan & more than permissible. | 4.10.06 |  |

GENERAL NOTES:

- Although sufficient care has been taken in compilation of the record on the basis of available information, in case of any clarification/discrepancy, the office of Director(Bldg.), DDA, C-1, First Floor, Vikas Sadan, INA, New Delhi may please be contacted.

- The list of properties where Sealing-cum-Demolition orders have been passed after issuing Show Cause Notice under D.D. Act 1957 is as under:

LIST OF SOCIETIES(CGHS) WHERE SEALING-CUM-DEMOLITION ORDER PASSED UNDER D.D. ACT 1957

NAME OF LOCALITY:

- Paschim Vihar: CGHS

| Sl. NO. | FILE NO | PROPERTY DETAIL | DETAILS OF UN-AUTHORIZED CONSTN. | DATE OF S/D ORDER | REMARKS. |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | F23(3)79/Bldg. | Delhi Rail Karamchari CGHS, Ashoka Enclave Peeragrahi Paschim Vihar | i) Room constructed/Verandah covered/Balcony covered in flat nos.- 1,311,7,33,29,21,25,13,17,16,20,24,10,28,14,18,22,26,15,23,27,39,48,41,45,59,65,69,79,7880,60,53,50,47,88,81,82,87,96,91,95,106,104,103,101,105,111,128,131,139,138,152,153, 158,155,170,193,180,184,173,177,181,185, 175,179,187,178,182. ii) Parapet wall extended-flat No.4. iii) Window Extension in Flat No:- 31,36,48,51,53,47,84,88,82,86,90,98, 110,103,118,127,124,139,126,143,153,154, 145,169,172,171,165,162,194,190,196,195, 198,200,60,68. Site re-inspected on 17.02.06 for additional unauthorized construction. S.D. order is being passed for implementation. The list of unauthorized construction is as under: - Commercial activities in flat No.83, 46 & 48. - Flat No.100, garage converted to room. - Steel staircase provided in flat No.83 from Society Land. - Window extended in flat No. 14,17,158 & 167. - Room on terrace in flat No.28. - Compound wall constructed with brick work, fencing and bushes etc. to enclose the front in flat Nos. 1,3,5,11,9,7,29,38,41,72,62,52,42,81,92,82,91,112,102,101,111,122,131,141,142,152,167,164,161,193,189,176,173,175,195,197 & 199. - Society office in garage. - Varandah covered in flat No.141. | 21/08/01 | Partly implemented on 02.05.2002. |
| 2. | F23(15)77/Bldg | CCIE Employees CGHS A-4, Paschim Vihar | a)Verandah walls at GF constructed without sanction in Flat Nos. 9,11,17,19,35,37,41,43,45,47,49,53,55,57,59,61,63,65,67,73,77,79,81,85,87,89,91,93,95,97,99,105 b)Extra rooms/Verandah covered with AC sheet are constructed without sanction on all the terrace floors. Flat Nos. 52,54,56,58,60,62,64,66,68. Site re-inspected on 4.01.06 for additional unauthorized construction. S.D. order is being passed for implementation. The list of unauthorized construction is as under: i) The G.F. allottees encroached the front/rear set back by constructing boundary wall and all the allottes of upper floors have also extended their floor by extending their balconies. ii) In some cases rooms were constructed on terrace by top floor allottees. iii) The Society constructed Mandir in front set back. iv) Free movement of fire tenders is not possible in case of any mishappening. | 14/07/98 |  |
| 3. | F23(40)78/Bldg. | Nav Bharat CGHS Ltd. Paschim Vihar | i) Kitchen extended in flat No. C-8, B-2 and L-7 ii) Verandah extended in Society land of Flat K-1, H-9 & B-8. iii)Cup board extended in flat No. G-6, H-9 & B-8 iv) Verandah covered Block-A-1,2,3,4,5,6,7,8,9,10,11,12, Block-B-1,2,3,4,6,7,8,9,10,11&12 Block-C-1,2,3,4,5,6,7,8,9,10,11 & 12 Block-D-1,2,3,4,6,7,8,9,10,11 & 12 Block-E-1,2,3,4,5,7,8,9,10&12 Block-F-1,2,3,5,6,7,8,9,11&12 Block-G-1,2,3,5,6,7,8,9,10,11&12 Block-H-1,2,4,5,6,7,8,9,10,11,12,13 &14 Block-I-1,2,3,4,5,6,7,8,9,10,11&12 Block-J-1,2,3,4,5,6,7,8,9,10,11&12 Block-K-1,2,3,4,5,6,8,9,10,13&14 Block-L-1,2,4,7,8&11 v) Balcony covered Block-A-7,8,11,12, Block-B-1,5,9 &11 Block-C-3,4,7,8,9 & 11 Block-D-2,4,6,8,9,10&12 Block-E-1,2,3,4 & 6 Block-F-1,2,3,6,7,8,9&11 Block-G-1,2,3,6,7,8,9,10,11& 12 Block-H-1,2,8,9,10,11& 13 Block-I-1,2,6,10&11 Block-J-1,3,4,7,8&11 Block-K-1,2,4,9,10,13&14 Block-L-1,2,3,6 & 10 vi)Society of office at stilt in ‘D’Block vii) Extra room have been constructed by erecting pillars on the society common land by flat no. D4,D8 & D-12. viii) room constructed at terrace in flat No.A-11, C-12, E-9, J-10, J-11, G-9 & I-10 ix) Terrace divided by providing grills in flat No. E-9 & E-10. x) Window extended in flat Nos. Block-C:- 3,4,8,& 12 Block-F:- 5,,9, & 11 Block –G:- 5,6,7,8 & 9. Block-H:- 8,9 & 10. Block-I:- 1,9,10 & 11 Block-J:- 3,7,8,10 & 11. Block-K:- 5 & 8 Block-L:- 4 & 10 xi) Encroachment in society’s common land by providing fencing, flooring etc. in flat Nos. K-2, J-2, B-2, G-1, I-1, H-1, H-2, E-1, B-1, D-2 & L-1. | 22/9/06 |  |
| 4 | F23(37)78/Bldg | Backward Class CGHS Ltd. Rohtak Road Paschim Vihar | i) Extra Rooms, balconies constructed without sanction in whole society approximately at each floor. Compound wall constructed/extended :- Block X: G1,G2,G3,G6,G8,G10,G11,G14,G17,G7 Block Z: G13,G16,G2,G3,G5,G6,G7,G10,G11,G12and G18. Block Y:G15,G14,G11,G10,G7,G6,G3,G24,G23,G20,G18,G17&G16 BlockC:G1,G2,G3,G4,G6,G7,G10,G11,G12,G14,G15,G16. Block A: G11G13,G15,G18,G1(platform extended)G3,G7,G8,G9,G10. Block B: G15,G14,G10,G7,G6,G5,G24,G23,G22,G21,G20,G19,G18 Block Y: G15, construction was in progressd during inspection on 10.11.2000 Almost all the DUs at G.F. have encroached the common land nearby their DU’s i.e. roads, parks, lanes, parking areas & set backs etc. Upper floors of all the DU’s have also extended their balconies up to envelop of G.F. and beyond. Also construction have been raised vertically beyond sanctioned terrace by constructing additional floors and encroachment. Feasibility for movement of fire tenders (freely) is very poor. Mandatory green have also been converted to hard green and being used for parking. All the additional construction beyond sanctioned be removed/rectified by the Society immediately and submit proof to this office. | 24/4/92 24/1/02 |  |
| 5. | F23(10)80/Bldg | GASTA CGHS Paschim Vihar | i)Compound wall constructed unauthorized in front of flats at GF -1A,1B,2A,3A,3B,4B,5A,5B,6B,8A,8B,9A,9B,13A,15A,16A,16B,18A,18B,19B,20B,21A,21B,22B,25A,7A,7B,10A,10B,24A,24B,26A,26B,12A,19A, 19B,18A,17A,17B&3D ii)Balcony covered by the Flat owners of upper floor i.e. 2E, 2B,4F, 9D, 13-C-D-E-F, 14A&14B iii) Verandah covered at GF 15A,15B,15C. iv)Balcony covered 16F, 22F, 25A-B-E, 5A&5F, 6A,6F,7A,10A, 10B,11A,11F,12B-C-D, 19A&B,18A,B,E & 17E. iv)Room constructed at terrace 22E,3D,9E,9F,&20F | 17/9/01, |  |
| 6. | F23(47)84/Bldg | Venus CGHS Ltd. Paschim Vihar | i)Room constructed in flat No. 9,10,17,29,30,33,34,37,52,62,60,72(constructed at terrace)73,77,78,100, ii)toilet of Society office attached with flat No. 113, 125,126(I Floor)126(IInd Floor)126(IIIrd Floor) 131, store in roadside, 137. cupboard in Balcony, 135-toilet on Society land,139-door projected outside, 144,148,147,Garrage constructed 149,150, Flat No. 147. iii)Balcony newly constructed and covered to rooms in flat No. 42,43,44,46,47,48(all the flats have constructed balconies in rear side of flats), 54 &148 iv)Covering of balconies 3,4,24,14,43,60,56,63,65,72,79,91,92,103,100,119,123,128,133,134,137,138,142,147&149 v)Compound wall constructed on society land flat No. 13,37,53,65,69,73,77,81,89,97,109,121,33,131,135,147(room extended in front side) | 3/5/06 |  |
| 7. | F23(39)78/Bldg | Delhi University Non Academic CGHS | i)Unauthorized construction in flat No.41,47,49,53&55 | 4.3.92 15/5/06 | S.D. orders executed on 9.8.96, Kitchen garden and compound walls were removed and flat no. 66 was sealed. The society has applied for regularization of bldg. plans which are under scrutiny. |

- Dwarka (Sect. 22) : CGHS

| Sl. NO. | FILE NO | PROPERTY DETAIL | DETAILS OF UN-AUTHORIZED CONSTN. | DATE OF S/D ORDER | REMARKS. |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | F23(6)98/Bldg | Jagran CGHS Ltd. Plot No. 17, Sector-22, Dwarka. | Type A Flat – study room + W.C. + small balcony Type B – Study room with small balcony | 20/9/06 |  |

- Vikas Puri: CGHS

| Sl. NO. | FILE NO | PROPERTY DETAIL | DETAILS OF UN-AUTHORIZED CONSTN. | DATE OF S/D ORDER | REMARKS. |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | F.23(58)84/Bldg | The Sunrise CGHS Ltd. Plot No.14, D-Block Vikas Puri New Delhi. | i) Common land(Left and Right side set back) encroached by ground floor occupants to provide kitchen garden/hedges in flat No. 1-2, 9-10, 17-18, 25-26, 33-34, 41-42, 49-50 & 57-58. ii) Varandah extended and converted into room in rear side by flat Nos. 1,2,10,17,18,33,34,41,42 & 58. iii) Balcony covered and converted into room in flat Nos. 3,5,7,4,6,11,15,19,20,22,23,28,29,30,31,35,36,37,38,39,40,43,44,45,46,47,48,52,53,54,55,56,59,61,62,63 & 64. iv) Balcony covered by glazing in flat Nos. 13,65,66, & 70. v) Balcony covered and converted into room and extra balcony erected by providing pillar at G.F. at flat Nos. 27 & 60. vi) room extended on common land front side by flat No.18. vii) Varadha extended and converted tin room front side by flat Nos. 10,17,41 & 57. viii) room constructed at terrace with toilet (covering roof with G.I. sheet/red sand stone) by flat Nos. 32,24,39,55 & 64. ix) Bath room/toilet at terrace by flat No. 15. | 6.09.2006 | The society filed court case appealing stay, against the Sealing-cum-demolition order, dt. 19.09.06. |