GENERAL NOTES:

    - Although sufficient care has been taken in compilation of the record on the basis of available information, in case of any clarification/discrepancy, the office of Director(Bldg.), DDA, C-1, First Floor, Vikas Sadan, INA, New Delhi may please be contacted.

    - The list of properties where Sealing-cum-Demolition orders have been passed after issuing Show Cause Notice under D.D. Act 1957 is as under:

DETAIL OF UNAUTHORIZED CONSTRUCTION

IN COMMERCIAL CENTRES

| S. No | File No. | Property Detail | Details of unauthorized construction | S.D. order date | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1. | F.13(71)05/Bldg. | CSC Pkt.’A’ Block ‘D’, Shalimar Bagh | i) Basement carved out unauthorizedly below the complete building. ii) Open to sky area covered at Ist floor. iii) Unauthorized constn. of 2nd floor on rear two blocks. iv) Unauthorized constn. of Addl. Room on terrace. v) Unauthorized constn. of shops in set back area. | 21.08.06 | Demolition has been completed and basement was sealed. |
| 2. | F.13(99)2000/Bldg | 23A, C.C. Rd. No.44, Pitampura | i) Corridor portion of Ist floor level is taken into hall by fixing the glazing to outer profile of the building. ii) At G.F. & F.F. toilet is not as per sanction bldg. plan. iii) Changed the control of building. iv) Occupied the building without getting C.C. v) Stair Case provided is not as per sanction plan | 28.03.05 | ----- |
| 3. | F.PA/JD(B)C&I/94 | A-39, Deep Cinema Ashok Vihar | i) illegal steel structure fabricated stair case on left side of the building leading o up to upper floor ii) Basement sub-divided into small portions and shutter has been fixed iii) At terrace some room has been constructed. iv) Ladies and Gents toilets are not as per approved plan v) Cinema hall constructed at IInd and IIIrd floor is not as per sanctioned plan . | 28.06.05 | ----- |

| 4. | F.13(18)98/Bldg. | Plot No.1, Pkt. 6 & 7, Sec.6, Vasant Kunj | i) Temporary toilet constructed at terrace. ii) Unauthorized construction of AC & Pump set fixed in right Hand Side. iii) Basement unfinished. | 10.10.06 | ----- |
| --- | --- | --- | --- | --- | --- |
| 5. | F.13(89)98/Bldg. | Plot No.5, LSC, Pkt.6 & 7, Sect.’C’, Vasant Kunj | Kitchen constructed at the end of corridor in shop. | 11.10.06 | ------ |
| 6. | F.13(32)57/Bldg. | 12, Block’B’, Mayur Vihar Ph.II | i) Unauthorized construction at FF, the owner has covered the corridor and bridge by providing MS grill. ii) On front of the terrace projection temporary room has been constructed on all floors i.e. FF,SF,TF & projected terrace. iii) On terrace antenna has been fixed/provided temporary room has been constructed totally unauthorized. | 30.08.06 | ----- |
| 7. | F.13(75)04/Bldg. | 11, LSC, Mayur Vihar, Ph.II | i) Area below stair case landing has been covered & provided shutters. ii)End shop owner has constructed unauthorised basement and extended the shop encroaching upto corridor area. iii) At FF, SF & TF temporary room has been constructed by all shop owners | 30.08.06 | ----- |
| 8. | F.13(111)98/Bldg. | 75, Sect.20, Dwarka | Unauthorized Construction in the front set back by raising the common wall at height of 2.6m approximately. | 30.08.06 | ----- |