## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DELHI DEVELOPMENT AUTHORITY
Name of Work: M/o Completed Scheme finishing & furnishing Vikas Sadan. SH:- Servicing, testing & calibration of HT & LT Panel of 3x1000 KVA Sub-station at Vikas Sadan.
NIQ No: 01/EE/ELD-11/DDA/2019-20 Estimated: Rs. 1,83,270/-
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT WithTaxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Servicing & overhauling of 400 A high Tension Oil Circuit Breaker (One incomer and three nos. outgoing) removing all internal, external dirt/dust with blower & cloth, cleaning all the contracts/arc chutes with CTC solution, tightening of fasteners & clamps of bus bars, checking insulator, supports oiling/greasing of switches, measuring the insulation resistance between phase & natural & earth, earth values, tightening of the earth connection to the panels, supply & replacement of nut bolts/faulty petty parts inside/outside the panels, making all alignments, ensuring proper operation of opening & closing mechanism of breakers, supply & replacement of defective indication lamps. cover holder, control fuse & holder control wire, nut bolts & washer etc. making entire system operational & in-healthy condition etc. complete as required. | BI01010001010000000000000515BI0100001128 | 4 | Job | 4500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2 | HV & MV relay testing & calibration at site by injecting current upto desired level as per manufactures recommendation by arranging own test/measuring equipment`s tools & submitting test reports, adjusting the breaker fault trip time lesser than the electric supply company breaker trip time etc. complete as required. |  | 7 | Job | 2500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Servicing & overhauling of 2000A L.T. Air Circuit Breaker i/c removing all internal, external dirt/dust with blower & cloth, cleaning all the contracts/arc chutes with CTC solution, tightening of fasteners & clamps of bus bars, checking insulators, supports oiling/greasing of switches, measuring the insulation resistance between phase & natural & earth, earth values, tightening of the earth connection to the panels, supply, replacement of nut bolts/faulty petty parts inside/outside the panels, making all alignments, ensuring proper operation of opening & closing mechanism of breakers, supply & replacement of defective indication lamps. cover holder, control fuse & holder control wire, nut bolts & washer etc. making entire system operational & in-healthy condition etc. complete as required. |  | 6 | Job | 2840 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Supply & Replacement of following items in existing L.T. panel i/c making connection with suitable size copper wire thimble lugs i/c modification in panel to fixing the new parts for smooth working of APFC panel etc. complete as required. a) 3 Phase LED ammeter class 0.5 (M/s. L&T make) |  | 24 | Each | 1850 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.01 | b) 3 Phase LED Voltmeter class 0.5 (M/s L&T make) |  | 4 | Each | 1850 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.02 | c) 3 Phase LED Multifunction with three line display class 0.5 (M/s L&T make). |  | 4 | Each | 7315 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.03 | d) 3 phase C.T. of ratio 1500/5 of class 1.0 and burden 15 VA |  | 9 | Each | 1275 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.04 | e) 3 phase C.T. of ratio 600/5 of class 1.0 and burden 15 VA |  | 12 | Each | 893 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.05 | f) 3 phase C.T. of ratio 400/5 of class 1.0 and burden 15 VA |  | 9 | Each | 893 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Supply & fixing of bakelite hylem sheet of thickness 8 mm i/c dismantling of old worn-out sheet etc. As required. |  | 20 | Sq. ft. | 582 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Modification in bus bar of L.T. panel i/c removing of cable connections, bus bar, replacement of bus bars on outgoing side from MCCB drilling holes, and reconnection of cables with suitable size nuts bolts, washers etc. complete as required. |  | 2 | Job | 2476 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Supplying & fixing of suitable size nut bolts in existing bus bar i/c dismantling, drilling of holes and refixing etc. as required. |  | 10 | Job | 285 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information